## Sheet1
Tester	Jack W King III				Date	06/03/15
Module	mtt922				H2O Lv	full
Pxar Ver:	pxar_crosscalibration_v1.1				HV Read	-150
Institute:	University of Kansas			T/H raw	T/H Act	Comments
pretest	Test Start	14:57		108.47	21.75	ok	peltiae at 4 amps and temp stable
	Test End	14:58	00:01	332.90	52.90		For 1 hr before test started
pixelalive	Test Start	15:01		108.35	21.44	ok	At 21.75C and 53% humidity
	Test End	15:02	00:01	332.60	52.60
trim35	Test Start	15:02		108.36	21.47	note trim at 35 – changed names
	Test End	15:41	00:39	332.50	52.50	ok
phopt35	Test Start	15:46		108.64	22.19	ok
	Test End	15:55	00:09	330.20	50.20
gainped35	Test Start	15:55		108.65	22.21	ok
	Test End	15:57	00:02	330.00	50.00
Bbond1-35	Test Start	15:58		108.65	22.21	ok
	Test End	16:00	00:02	329.90	49.90
scvthr35	Test Start	16:00		108.66	22.24	Errors/warnings reported sample ->					[16:09:39.032] ERROR: <datapipe.cc/CheckEventID:L141> Event ID mismatch: local ID (38) != TBM ID (39)
	Test End	16:17	00:17	329.80	49.80						[16:09:39.032] WARNING: ROC 5: Readback start marker after 15 readouts!
scvcal35	Test Start	16:18		108.70	22.34	ok					[16:09:39.032] WARNING: ROC 0: Readback start marker after 15 readouts!
	Test End	16:47	00:29	329.90	49.90	end of crosscalibrate root file
hotpixel35	Test Start	16:53		108.69	22.32
	Test End	16:54	00:01	331.20	51.20
floroCu35	Test Start				-257.81
	Test End		00:00		-280.00
floroIn35	Test Start				-257.81
	Test End		00:00		-280.00
floroSn35	Test Start				-257.81
	Test End		00:00		-280.00
floroAg35	Test Start				-257.81
	Test End		00:00		-280.00
hr10ma35	Test Start	17:11		108.70	22.34	crashed on xnoise test – removing: resart
	Test End	17:14	00:03	330.80	50.80					:
hr08ma35	Test Start	17:15		108.88	22.81
	Test End	17:17	00:02	328.90	48.90
hr06ma35	Test Start	17:19		108.85	22.73
	Test End	17:21	00:02	328.90	48.90
hr04ma35	Test Start	17:22		108.88	22.81
	Test End	17:24	00:02	328.60	48.60
hr02ma35	Test Start	17:25		108.88	22.81
	Test End	17:27	00:02	328.60	48.60

Total time:			01:51		Grade: